## Make List
LIST OF APPROVED MAKES OF MATERIALS
SR. NO. | ITEMS | APPROVED MAKES | VENDOR PROPOSED MAKES
A | MAIN CAPITAL EQUIPMENTS
1 | UPS | Vertiv / Schneider
2 | UPS Batteries | Exide / Amararaja/Panasonic
3 | Isolation Transformer | Krykad/Datsons
4 | Precision AC | Vertiv/ Schneider
5 | Split AC | Bluestar/Carrier/Daikin
6 | IT Equipment Racks | Netrack/Valrack / APW President / SelRack / Rittal/ Vertiv
B | ELECTRICAL SYSTEMS
1 | LV Panels & Switch Boards | CPRI Aproved Panel Makes
2 | MCB DB | Schneider / LK/Legrand/ABB
3 | Automatic Transfer Switches - ATS | Asco/ Socomec/LK/ABB/Elmeasure
4 | Changeover Switches - COS | Socomec/ LK/Legrand
5 | TVSS | ASCO/ Socomec/LK/OBO/ABB
6 | MCCB | ABB / Schneider / LK/Legrand
7 | MCB | ABB / Schneider / LK/Legrand
8 | Contactor | ABB / Schneider / LK/Legrand/Siemens
9 | Multifunction Energy meter | Schneider/LK
10 | Luminaries / lamps | Philips /Wipro/Crompton
11 | Switches/Sockets modular | Anchor/MDS/ Legrand/Havells/LK/Cabtree
12 | Industrial Plug & sockets | Schneider/ LK/Legrand/C&S
13 | PVC Conduits | Anchor/ BEC/ Power Flex/Precison/Balco/Toms
14 | Terminals | Wago / Phoenix / Elmex
15 | Cable termination lugs & Glands | Dowell / Comet / Joint Well/ Jainsons/ Hansel
16 | Cable tray | Profab/ Indiana/Hitech
17 | Wiremesh Cable Tray | CABLOFIL, OBO, ERICO/Legrand
18 | Fiber Raceway | COMSCOPE, PANDUIT/Molex/Norden
19 | Maintenance Free Earthing | Erico / OBO/ Any Approved Equivalent
20 | MS Conduit | Ancor/ BEC/ AKG
21 | LV flexible wires | KEI / Polycab/ Finolex / Havells/RR/Vguard
22 | LV power/control cables | KEI / Polycab/ Finolex / Havells/Gloster
23 | Telephone Wire / Cables | Delton/ Finolex/Polycab
C | CIVIL WORKS
1 | False Floor | UNITILE or UNIFLAIR
2 | False ceilings | ARMSTRONG, INDIA GYPSUM or SAINTGOBAIN
3 | Fire Rated Door | Shakti Horman, MPP
4 | Flush Doors | KITPLY, ANCH, INDIAN PLY AND WOOD CRAFTS
5 | Steel Doors, Windows and Ventilators | GODREJ, SEN HARVIK, AGEW
6 | Aluminum Doors and Windows | JINDAL
7 | Cement | ACC, Ultratech, Ambuja, Binani
8 | Gypsum Partition | ARMSTRONG, INDIA GYPSUM or SAINTGOBAIN
9 | Fire Retardant Paint | ASIAN PAINTS, Octagreen, VIPER, FIREPRO,
10 | Paints and Distemper | JENSON AND NICHOLSON, ASIAN PAINTS, SHALIMAR, GOODLAS NEROLAC, BERGER PAINTS /JOTUN
11 | Cement based paints | SUPER SNOWCEM, NITCOCEM
12 | Steel | SAIL / TISCO / RINL / JSW / Apollo / Vizag
13 | Mosaic tiles, terrazzo tiles (1st quality) | BHARAT, NITCO, NIMMCO
14 | Ceramic Tiles plain | NITCO, JHONSON, EURO & KAJARIA
15 | Water Proofing Compound | CICO, FOSROC, PIDILITE
16 | Plywood/Teak Particle Board | KITPLY, ANCH, MANGLAM
17 | Anti-Termite Oil to Joinery | Solignum, Woodguard, Ascu
18 | Hardware | ISI APPROVED AND MARKED MAKE SHALIMAR, CIEF
19 | Hardners | IRONITE, HARDONATE
20 | Door Closers, floor springs | HORMAN, DORMA,DMA, EVERITE, GARNISH
21 | GI pipes (Heavy grade, medium grade) | ZENITH, JINDAL, TATA
22 | GI Fitting (Malleable) | ‘R’ Brand, KM
23 | Cast iron pipe | BIC/ HEP/ NECO
D | FIRE & ELV SYSTEMS
D1 | FIRE ALARM SYSTEM
1 | Fire Alarm Panel(s) | Simplex / Notifier / Edwards / Siemens
2 | Network Repeater with Fire Fighters Telephone System | Simplex / Notifier / Edwards / Siemens
3 | Graphic User Interface Software | Simplex / Notifier / Edwards / Siemens
4 | Smoke Detectors (Photo/PhotoThermal) | Simplex / Notifier / Edwards / Siemens
5 | Heat Detectors | Simplex / Notifier / Edwards / Siemens
6 | Duct Detector | Simplex / Notifier / Edwards / Siemens
7 | Interface Modules : Monitor / Relay / Control / Zone Monitor etc. | Simplex / Notifier / Edwards / Siemens
8 | Sounders / Sounder cum Flashers / Strobes / Annunciation devices | Simplex / Notifier / Edwards / Siemens
9 | Manual Pull Stations | Simplex / Notifier / Edwards / Siemens
10 | Fault Isolator Modules | Simplex / Notifier / Edwards / Siemens
11 | Addressable Power Supplies | Simplex / Notifier / Edwards / Siemens
12 | Autodialler | ADT / GE / ATSS/Equivalent Preapproved.
D2 | FIRE SUPPRESSION SYSTEM
1 | Novec 1230 Gas | 3M,USA/Siemens FK5112
2 | Cylinder with valve ( OEM Factory Filled) UL Listed and CCOE Approved | ANSUL / UTC/Siemens
3 | Electrical Actuator | ANSUL / UTC/Siemens
4 | Manual Actuator | ANSUL / UTC/Siemens
5 | Pneumatic Actuator | ANSUL / UTC/Siemens
6 | Discharge Hoses | ANSUL / UTC/Siemens
7 | Actuation Hoses | ANSUL / UTC/Siemens
8 | Manifold Check Valves | ANSUL / UTC/Siemens
9 | Nozzles | ANSUL / UTC/Siemens
10 | Low Pressure Switch | ANSUL / UTC/Siemens
11 | Nitrogen Pilot Cylinder and Valve Assembly & Pressure Guage | ANSUL / UTC/Siemens
12 | Discharge Pressure Switch | ANSUL / UTC/Siemens
13 | Piping ASTM A106 Gr. B Sch 40 & Sch.80 | Jindal/ Indian Seamless / Maharashtra Seamless
14 | "UL Listed" Gas Relerase Panel, with programmable Relay Modules & Builtin Listed Power Supply | Notifier / Simplex/Secutron/Ravel
15 | "UL Listed" Dual Action Manual Release Station | Notifier / Simplex/Secutron/Ravel
16 | "UL Listed" Deadman type Abort Switch | Notifier / Simplex/Secutron/Ravel
17 | ABC type Fire Extinguishers | Safex / Minimax / Zenith / Firefite
18 | Mechanical Foam type Extinguishers | Safex / Minimax / Zenith / Firefite
D3 | IP BASED CCTV SYSTEM
1 | IP BASED CCTV CAMERA | DVTel/ Pelco/ Honeywell/Matrix (Should have STQC ER certification)
2 | Indoor PTZ CCTV CAMERA | DVTel/ Pelco/ Honeywell/Matrix (Should have STQC ER certification)
3 | IP CCTV software | DVTel/ Pelco/ Honeywell/Matrix
4 | Video Analytics software | DVTel/ Pelco/ Honeywell/Matrix
5 | (Miscalleneous Analytics Software, if required) | Iomniscient/ Delopt / Allgovision
6 | Server / PC / Monitors | HP / DELL / Pelco
7 | Professional CCTV Monitors | HP / SAMSUNG / PANASONIC/LG
8 | Managed LAN Network Switches | CISCO / NORTEL / HP
9 | Power Supplies | Transtech / Eqv Listed Power Supply
D4 | ACCESS CONTROL SYSTEMS
1 | Contact less Access Readers (Proximity) | HID/ESSL
2 | PIN type Readers | HID/ESSL
3 | Biometric Fingerprint Scanners | Bioscript / HID/ESSL
4 | Hand Geometry Readers | Ingersoll Rand/ESSL
5 | Access Controllers | Honeywell Prowatch / DDS / Schnieder/Siemens/ESSL
6 | Access Control Software | Honeywell Prowatch / DDS / Schnieder/Siemens/ESSL
D5 | RODENT REPELLENT SYSTEM
1 | Satellite Stations / Transducers | R Scat /Maser
2 | Rodent Repellant Controllers | R Scat /Maser
D6 | WATER LEAK DETECTION SYSTEM
1 | WLD Panel with LCD Display | Tracetech / Raymond / TTK/Csystems/Saini
2 | Distance Measuring type WLD Cable | Tracetech / Raymond / TTK/Csystems/Saini
3 | Digital Diversion Boxes, End Connectors | Tracetech / Raymond / TTK/Csystems/Saini
D7 | CABLES AND CONTAINMENT
1 | ISI Marked FRLS 2 core x 1.5 mm2, Multistrand Copper, FRLS Armoured cable, RED in Colour | Polycab/Finolex/Gloster
2 | FRLS 8c x 0.75 mm2 multistranded copper, Shielded, PVC sheathed Armoured Cable | Polycab/Finolex/Gloster
3 | FRLS 4c x 0.75 mm2 multistranded copper, PVC sheathed Armoured Cable | Polycab/Finolex/Gloster
4 | FRLS Cat-6e ,shielded, PVC sheathed Armoured Cable | Molex/Legrand/ Systamax/Panduit
5 | Armoured FRLS 2c x 1.0 mm2 Cu, Multistranded, PVC sheathed Cables. | Polycab/Finolex/Gloster
6 | ISI Marked FRLS 2 core x 1.5 mm2, Multistrand Copper, Armoured cable | Polycab/Finolex/Gloster
7 | Signal cabling : Armoured FRLS Copper Flexible Conductor Shielded ( Aluminium Mylar tape with ATC Drain wire of 0.75 Sq. mm),PVC insulated,PVCS heathed Cable as per IS : 694 (2C, 3C, 4C, 8C x 1 sq mm) | Polycab/Finolex/Gloster
8 | Fiber Optic Cable | Systamax/Panduit/Kabletec/Molex
9 | 20 mm / 25 mm GI Conduit and Fiitings | BEC / Wimco / Universal
10 | Perforated GI Cable tray, Medium Duty | Hi Tech/ Profab / Right Engg / Sunrise / Adarsh
11 | GI Trunking | Hi Tech/ Profab / Right Engg / Sunrise / Adarsh